## pmuVoltage
Bus | Measurement | Noise | Status | Measurement | Noise | Status | Exact | Exact
Integer | Magnitude [p.u.] | Variance [p.u.] | Integer | Angle [rad] | Variance [p.u.] | Integer | Magnitude [p.u.] | Angle [rad]
1 | 1.066 | 1e-05 | 0 | 0.0028553 | 1e-05 | 0 | 1.06 | 0
2 | 1.0485 | 1e-05 | 1 | -0.088309 | 1e-05 | 1 | 1.045 | -0.086963
3 | 1.0156 | 1e-05 | 1 | -0.2265 | 1e-05 | 1 | 1.01 | -0.22209
4 | 1.0227 | 1e-05 | 1 | -0.18504 | 1e-05 | 1 | 1.0177 | -0.17999
5 | 1.0195 | 1e-05 | 1 | -0.14689 | 1e-05 | 1 | 1.0195 | -0.15313
6 | 1.0765 | 1e-05 | 0 | -0.24419 | 1e-05 | 0 | 1.07 | -0.2482
7 | 1.059 | 1e-05 | 0 | -0.23435 | 1e-05 | 0 | 1.0615 | -0.23317
8 | 1.0921 | 1e-05 | 1 | -0.23046 | 1e-05 | 1 | 1.09 | -0.23317
9 | 1.0557 | 1e-05 | 1 | -0.25659 | 1e-05 | 1 | 1.0559 | -0.26073
10 | 1.0494 | 1e-05 | 0 | -0.26054 | 1e-05 | 0 | 1.051 | -0.2635
11 | 1.0561 | 1e-05 | 1 | -0.26108 | 1e-05 | 1 | 1.0569 | -0.25815
12 | 1.0598 | 1e-05 | 1 | -0.26931 | 1e-05 | 1 | 1.0552 | -0.26312
13 | 1.0524 | 1e-05 | 0 | -0.26709 | 1e-05 | 0 | 1.0504 | -0.26453
14 | 1.0353 | 1e-05 | 1 | -0.27734 | 1e-05 | 1 | 1.0355 | -0.27984

## pmuCurrent
Branch | From Bus | To Bus | Measurement | Noise | Status | Measurement | Noise | Status | Exact | Exact
Integer | Integer | Integer | Magnitude [p.u.] | Variance [p.u.] | Integer | Angle [rad] | Variance [p.u.] | Integer | Magnitude [p.u.] | Angle [rad]
1 | 1 | 2 | 1.4912 | 1e-05 | 0 | 0.13283 | 1e-05 | 0 | 1.4925 | 0.12933
2 | 1 | 5 | 0.71207 | 1e-05 | 0 | -0.048333 | 1e-05 | 0 | 0.71329 | -0.051008
3 | 2 | 3 | 0.70193 | 1e-05 | 1 | -0.13173 | 1e-05 | 1 | 0.70167 | -0.13554
4 | 2 | 4 | 0.53582 | 1e-05 | 1 | -0.060458 | 1e-05 | 1 | 0.53735 | -0.05935
5 | 2 | 5 | 0.3958 | 1e-05 | 1 | -0.11056 | 1e-05 | 1 | 0.39744 | -0.11516
6 | 3 | 4 | 0.23217 | 1e-05 | 1 | 3.109 | 1e-05 | 1 | 0.23477 | 3.1093
7 | 4 | 5 | 0.62071 | 1e-05 | 1 | -3.073 | 1e-05 | 1 | 0.62075 | -3.0684
8 | 4 | 7 | 0.29818 | 1e-05 | 1 | 0.15415 | 1e-05 | 1 | 0.29181 | 0.15208
9 | 4 | 9 | 0.15401 | 1e-05 | 1 | -0.15458 | 1e-05 | 1 | 0.15806 | -0.15341
10 | 5 | 6 | 0.45297 | 1e-05 | 1 | -0.42635 | 1e-05 | 1 | 0.4494 | -0.42879
11 | 6 | 11 | 0.076878 | 1e-05 | 0 | -0.70264 | 1e-05 | 0 | 0.076354 | -0.69913
12 | 6 | 12 | 0.078196 | 1e-05 | 0 | -0.5614 | 1e-05 | 0 | 0.076436 | -0.55929
13 | 6 | 13 | 0.17975 | 1e-05 | 0 | -0.64 | 1e-05 | 0 | 0.17906 | -0.6344
14 | 7 | 8 | 0.16041 | 1e-05 | 0 | 1.3418 | 1e-05 | 0 | 0.16168 | 1.3376
15 | 7 | 9 | 0.26621 | 1e-05 | 0 | -0.43362 | 1e-05 | 0 | 0.27002 | -0.43617
16 | 9 | 10 | 0.063446 | 1e-05 | 1 | -0.94126 | 1e-05 | 1 | 0.063619 | -0.93978
17 | 9 | 14 | 0.099106 | 1e-05 | 1 | -0.62538 | 1e-05 | 1 | 0.095593 | -0.62646
18 | 10 | 11 | 0.035451 | 1e-05 | 0 | 2.4749 | 1e-05 | 0 | 0.039158 | 2.4748
19 | 12 | 13 | 0.016197 | 1e-05 | 1 | -0.69871 | 1e-05 | 1 | 0.016885 | -0.70007
20 | 13 | 14 | 0.055925 | 1e-05 | 0 | -0.56231 | 1e-05 | 0 | 0.056247 | -0.56474
1 | 2 | 1 | 1.481 | 1e-05 | 1 | -3.0552 | 1e-05 | 1 | 1.484 | -3.0491
2 | 5 | 1 | 0.70896 | 1e-05 | 1 | 3.0178 | 1e-05 | 1 | 0.71389 | 3.0191
3 | 3 | 2 | 0.70452 | 1e-05 | 1 | 2.9449 | 1e-05 | 1 | 0.7023 | 2.9421
4 | 4 | 2 | 0.53617 | 1e-05 | 1 | 3.0207 | 1e-05 | 1 | 0.53592 | 3.017
5 | 5 | 2 | 0.40065 | 1e-05 | 1 | 2.9343 | 1e-05 | 1 | 0.39888 | 2.9368
6 | 4 | 3 | 0.2327 | 1e-05 | 1 | 0.022771 | 1e-05 | 1 | 0.23729 | 0.021618
7 | 5 | 4 | 0.61584 | 1e-05 | 1 | 0.070321 | 1e-05 | 1 | 0.62075 | 0.073187
8 | 7 | 4 | 0.28276 | 1e-05 | 0 | -2.9907 | 1e-05 | 0 | 0.28539 | -2.9895
9 | 9 | 4 | 0.15411 | 1e-05 | 1 | 2.9859 | 1e-05 | 1 | 0.15316 | 2.9882
10 | 6 | 5 | 0.42249 | 1e-05 | 0 | 2.7141 | 1e-05 | 0 | 0.41884 | 2.7128
11 | 11 | 6 | 0.074269 | 1e-05 | 1 | 2.4432 | 1e-05 | 1 | 0.076354 | 2.4425
12 | 12 | 6 | 0.075634 | 1e-05 | 1 | 2.5808 | 1e-05 | 1 | 0.076436 | 2.5823
13 | 13 | 6 | 0.17615 | 1e-05 | 0 | 2.5082 | 1e-05 | 0 | 0.17906 | 2.5072
14 | 8 | 7 | 0.15793 | 1e-05 | 1 | -1.8018 | 1e-05 | 1 | 0.16168 | -1.804
15 | 9 | 7 | 0.26992 | 1e-05 | 1 | 2.7033 | 1e-05 | 1 | 0.27002 | 2.7054
16 | 10 | 9 | 0.066108 | 1e-05 | 0 | 2.2024 | 1e-05 | 0 | 0.063619 | 2.2018
17 | 14 | 9 | 0.10046 | 1e-05 | 1 | 2.5137 | 1e-05 | 1 | 0.095593 | 2.5151
18 | 11 | 10 | 0.036994 | 1e-05 | 1 | -0.66005 | 1e-05 | 1 | 0.039158 | -0.66678
19 | 13 | 12 | 0.014987 | 1e-05 | 0 | 2.443 | 1e-05 | 0 | 0.016885 | 2.4415
20 | 14 | 13 | 0.05659 | 1e-05 | 1 | 2.5804 | 1e-05 | 1 | 0.056247 | 2.5769

## legacyFlow
Branch | From Bus | To Bus | Measurement | Noise | Status | Measurement | Noise | Status | Exact | Exact
Integer | Integer | Integer | Active Power [p.u.] | Variance [p.u.] | Integer | Reactive Power [p.u.] | Variance [p.u.] | Integer | Active Power [p.u.] | Reactive Power [p.u.]
1 | 1 | 2 | 1.5664 | 0.0001 | 0 | -0.20372 | 0.0001 | 1 | 1.5688 | -0.20404
2 | 1 | 5 | 0.77388 | 0.0001 | 1 | 0.040171 | 0.0001 | 1 | 0.7551 | 0.03855
3 | 2 | 3 | 0.7371 | 0.0001 | 0 | 0.026861 | 0.0001 | 0 | 0.73238 | 0.035602
4 | 2 | 4 | 0.57266 | 0.0001 | 0 | -0.016746 | 0.0001 | 1 | 0.56131 | -0.015504
5 | 2 | 5 | 0.42221 | 0.0001 | 1 | 0.022427 | 0.0001 | 1 | 0.41516 | 0.01171
6 | 3 | 4 | -0.23148 | 0.0001 | 0 | 0.044594 | 0.0001 | 0 | -0.23286 | 0.044731
7 | 4 | 5 | -0.6181 | 0.0001 | 0 | 0.16575 | 0.0001 | 1 | -0.61158 | 0.15824
8 | 4 | 7 | 0.27097 | 0.0001 | 1 | -0.072865 | 0.0001 | 1 | 0.28074 | -0.096811
9 | 4 | 9 | 0.16955 | 0.0001 | 0 | -0.022882 | 0.0001 | 1 | 0.1608 | -0.0042761
10 | 5 | 6 | 0.42236 | 0.0001 | 0 | 0.12883 | 0.0001 | 0 | 0.44087 | 0.12471
11 | 6 | 11 | 0.074639 | 0.0001 | 0 | 0.044629 | 0.0001 | 1 | 0.073533 | 0.035605
12 | 6 | 12 | 0.071479 | 0.0001 | 0 | 0.022438 | 0.0001 | 0 | 0.077861 | 0.025034
13 | 6 | 13 | 0.20171 | 0.0001 | 0 | 0.071537 | 0.0001 | 0 | 0.17748 | 0.072166
14 | 7 | 8 | 0.0013368 | 0.0001 | 1 | -0.17025 | 0.0001 | 0 | -5.7084e-13 | -0.17163
15 | 7 | 9 | 0.29307 | 0.0001 | 1 | 0.061605 | 0.0001 | 0 | 0.28074 | 0.057787
16 | 9 | 10 | 0.054406 | 0.0001 | 0 | 0.029854 | 0.0001 | 0 | 0.052276 | 0.042191
17 | 9 | 14 | 0.103 | 0.0001 | 0 | 0.043617 | 0.0001 | 0 | 0.094264 | 0.0361
18 | 10 | 11 | -0.042615 | 0.0001 | 0 | -0.032956 | 0.0001 | 1 | -0.037853 | -0.016151
19 | 12 | 13 | 0.010439 | 0.0001 | 0 | 0.003153 | 0.0001 | 1 | 0.016143 | 0.0075396
20 | 13 | 14 | 0.059617 | 0.0001 | 0 | 0.012713 | 0.0001 | 0 | 0.056439 | 0.017472
1 | 2 | 1 | -1.5303 | 0.0001 | 1 | 0.27378 | 0.0001 | 0 | -1.5259 | 0.27676
2 | 5 | 1 | -0.73549 | 0.0001 | 1 | 0.037602 | 0.0001 | 1 | -0.72748 | 0.022294
3 | 3 | 2 | -0.70288 | 0.0001 | 1 | 0.019494 | 0.0001 | 1 | -0.70914 | 0.016022
4 | 4 | 2 | -0.53207 | 0.0001 | 1 | 0.019758 | 0.0001 | 1 | -0.54455 | 0.030207
5 | 5 | 2 | -0.40481 | 0.0001 | 1 | -0.0034236 | 0.0001 | 0 | -0.40612 | -0.02099
6 | 4 | 3 | 0.23706 | 0.0001 | 1 | -0.036431 | 0.0001 | 1 | 0.23659 | -0.048357
7 | 5 | 4 | 0.63322 | 0.0001 | 1 | -0.14293 | 0.0001 | 1 | 0.61673 | -0.14201
8 | 7 | 4 | -0.28584 | 0.0001 | 1 | 0.11635 | 0.0001 | 1 | -0.28074 | 0.11384
9 | 9 | 4 | -0.16364 | 0.0001 | 0 | 0.00030875 | 0.0001 | 1 | -0.1608 | 0.017323
10 | 6 | 5 | -0.43024 | 0.0001 | 1 | -0.093822 | 0.0001 | 0 | -0.44087 | -0.080495
11 | 11 | 6 | -0.082337 | 0.0001 | 1 | -0.0085151 | 0.0001 | 1 | -0.072979 | -0.034445
12 | 12 | 6 | -0.090201 | 0.0001 | 1 | -0.020204 | 0.0001 | 0 | -0.077143 | -0.02354
13 | 13 | 6 | -0.18282 | 0.0001 | 1 | -0.069153 | 0.0001 | 0 | -0.17536 | -0.067989
14 | 8 | 7 | -0.0011898 | 0.0001 | 0 | 0.16559 | 0.0001 | 0 | 5.7084e-13 | 0.17623
15 | 9 | 7 | -0.29435 | 0.0001 | 1 | -0.067373 | 0.0001 | 1 | -0.28074 | -0.049766
16 | 10 | 9 | -0.046076 | 0.0001 | 0 | -0.05226 | 0.0001 | 0 | -0.052147 | -0.041849
17 | 14 | 9 | -0.080141 | 0.0001 | 1 | -0.035641 | 0.0001 | 1 | -0.093102 | -0.033629
18 | 11 | 10 | 0.045277 | 0.0001 | 1 | 0.028416 | 0.0001 | 1 | 0.037979 | 0.016445
19 | 13 | 12 | -0.033368 | 0.0001 | 0 | 0.0036839 | 0.0001 | 0 | -0.01608 | -0.0074826
20 | 14 | 13 | -0.04435 | 0.0001 | 0 | -0.013376 | 0.0001 | 1 | -0.055898 | -0.016371

## legacyCurrent
Branch | From Bus | To Bus | Measurement | Noise | Status | Exact
Integer | Integer | Integer | Magnitude [p.u.] | Variance [p.u.] | Integer | Magnitude [p.u.]
1 | 1 | 2 | 1.4896 | 0.0001 | 1 | 1.4925
2 | 1 | 5 | 0.72212 | 0.0001 | 0 | 0.71329
3 | 2 | 3 | 0.70118 | 0.0001 | 1 | 0.70167
4 | 2 | 4 | 0.52992 | 0.0001 | 0 | 0.53735
5 | 2 | 5 | 0.39886 | 0.0001 | 0 | 0.39744
6 | 3 | 4 | 0.23584 | 0.0001 | 0 | 0.23477
7 | 4 | 5 | 0.61632 | 0.0001 | 0 | 0.62075
8 | 4 | 7 | 0.27687 | 0.0001 | 0 | 0.29181
9 | 4 | 9 | 0.16413 | 0.0001 | 0 | 0.15806
10 | 5 | 6 | 0.44474 | 0.0001 | 0 | 0.4494
11 | 6 | 11 | 0.08082 | 0.0001 | 0 | 0.076354
12 | 6 | 12 | 0.083209 | 0.0001 | 1 | 0.076436
13 | 6 | 13 | 0.18489 | 0.0001 | 1 | 0.17906
14 | 7 | 8 | 0.1775 | 0.0001 | 0 | 0.16168
15 | 7 | 9 | 0.26098 | 0.0001 | 1 | 0.27002
16 | 9 | 10 | 0.0491 | 0.0001 | 0 | 0.063619
17 | 9 | 14 | 0.10532 | 0.0001 | 1 | 0.095593
18 | 10 | 11 | 0.041618 | 0.0001 | 1 | 0.039158
19 | 12 | 13 | 0.0087209 | 0.0001 | 1 | 0.016885
20 | 13 | 14 | 0.047088 | 0.0001 | 1 | 0.056247
1 | 2 | 1 | 1.4625 | 0.0001 | 1 | 1.484
2 | 5 | 1 | 0.72358 | 0.0001 | 0 | 0.71389
3 | 3 | 2 | 0.68907 | 0.0001 | 0 | 0.7023
4 | 4 | 2 | 0.54638 | 0.0001 | 1 | 0.53592
5 | 5 | 2 | 0.38076 | 0.0001 | 0 | 0.39888
6 | 4 | 3 | 0.24168 | 0.0001 | 0 | 0.23729
7 | 5 | 4 | 0.62669 | 0.0001 | 0 | 0.62075
8 | 7 | 4 | 0.25604 | 0.0001 | 0 | 0.28539
9 | 9 | 4 | 0.16294 | 0.0001 | 1 | 0.15316
10 | 6 | 5 | 0.42246 | 0.0001 | 0 | 0.41884
11 | 11 | 6 | 0.073862 | 0.0001 | 1 | 0.076354
12 | 12 | 6 | 0.090682 | 0.0001 | 0 | 0.076436
13 | 13 | 6 | 0.16948 | 0.0001 | 0 | 0.17906
14 | 8 | 7 | 0.16435 | 0.0001 | 1 | 0.16168
15 | 9 | 7 | 0.28922 | 0.0001 | 0 | 0.27002
16 | 10 | 9 | 0.060704 | 0.0001 | 1 | 0.063619
17 | 14 | 9 | 0.085932 | 0.0001 | 1 | 0.095593
18 | 11 | 10 | 0.039257 | 0.0001 | 0 | 0.039158
19 | 13 | 12 | 0.032304 | 0.0001 | 0 | 0.016885
20 | 14 | 13 | 0.059015 | 0.0001 | 1 | 0.056247

## legacyInjection
Bus | Measurement | Noise | Status | Measurement | Noise | Status | Exact | Exact
Integer | Active Power [p.u.] | Variance [p.u.] | Integer | Reactive Power [p.u.] | Variance [p.u.] | Integer | Active Power [p.u.] | Reactive Power [p.u.]
1 | 2.3301 | 0.0001 | 0 | -0.1412 | 0.0001 | 1 | 2.3239 | -0.16549
2 | 0.16858 | 0.0001 | 1 | 0.30727 | 0.0001 | 0 | 0.183 | 0.30857
3 | -0.94626 | 0.0001 | 0 | 0.044215 | 0.0001 | 1 | -0.942 | 0.060753
4 | -0.47829 | 0.0001 | 1 | 0.042442 | 0.0001 | 1 | -0.478 | 0.039
5 | -0.073103 | 0.0001 | 0 | -0.010111 | 0.0001 | 0 | -0.076 | -0.016
6 | -0.12278 | 0.0001 | 1 | 0.051491 | 0.0001 | 1 | -0.112 | 0.052309
7 | -0.0096404 | 0.0001 | 0 | 0.010925 | 0.0001 | 1 | 2.3668e-12 | 1.6686e-12
8 | -0.0065659 | 0.0001 | 1 | 0.17568 | 0.0001 | 1 | 5.7084e-13 | 0.17623
9 | -0.30822 | 0.0001 | 0 | -0.17608 | 0.0001 | 1 | -0.295 | -0.166
10 | -0.096426 | 0.0001 | 1 | -0.077745 | 0.0001 | 1 | -0.09 | -0.058
11 | -0.022942 | 0.0001 | 1 | -0.022676 | 0.0001 | 1 | -0.035 | -0.018
12 | -0.059474 | 0.0001 | 0 | -0.016257 | 0.0001 | 0 | -0.061 | -0.016
13 | -0.16018 | 0.0001 | 0 | -0.062986 | 0.0001 | 1 | -0.135 | -0.058
14 | -0.15615 | 0.0001 | 0 | -0.034322 | 0.0001 | 0 | -0.149 | -0.05

## legacyVoltage
Bus | Measurement | Noise | Status | Exact
Integer | Magnitude [p.u.] | Variance [p.u.] | Integer | Magnitude [p.u.]
1 | 1.0555 | 0.0001 | 1 | 1.06
2 | 1.0395 | 0.0001 | 0 | 1.045
3 | 1.0033 | 0.0001 | 0 | 1.01
4 | 1.0082 | 0.0001 | 1 | 1.0177
5 | 1.0127 | 0.0001 | 0 | 1.0195
6 | 1.0517 | 0.0001 | 0 | 1.07
7 | 1.0687 | 0.0001 | 0 | 1.0615
8 | 1.0975 | 0.0001 | 0 | 1.09
9 | 1.0528 | 0.0001 | 0 | 1.0559
10 | 1.0446 | 0.0001 | 1 | 1.051
11 | 1.0568 | 0.0001 | 0 | 1.0569
12 | 1.0605 | 0.0001 | 1 | 1.0552
13 | 1.0519 | 0.0001 | 1 | 1.0504
14 | 1.0253 | 0.0001 | 1 | 1.0355

## bus
Bus | Type | Demand | Demand | Shunt Conductance | Shunt Susceptance | Area | Voltage | Voltage | Base Voltage | Loss Zone | Maximum Voltage | Minimum Voltage
Integer | PQ(1), PV(2), Slack(3) | Active Power [MW] | Reactive Power [MVAr] | Active Power [MW] | Reactive Power [MVAr] | Integer | Magnitude [p.u.] | Angle [deg] | Magnitude [kV] | Integer | Magnitude [p.u.] | Magnitude [p.u.]
1 | 3 | 0 | 0 | 0 | 0 | 1 | 1.06 | 0 | 0 | 1 | 1.06 | 0.94
2 | 2 | 21.7 | 12.7 | 0 | 0 | 1 | 1.045 | -4.98 | 0 | 1 | 1.06 | 0.94
3 | 2 | 94.2 | 19 | 0 | 0 | 1 | 1.01 | -12.72 | 0 | 1 | 1.06 | 0.94
4 | 1 | 47.8 | -3.9 | 0 | 0 | 1 | 1.019 | -10.33 | 0 | 1 | 1.06 | 0.94
5 | 1 | 7.6 | 1.6 | 0 | 0 | 1 | 1.02 | -8.78 | 0 | 1 | 1.06 | 0.94
6 | 2 | 11.2 | 7.5 | 0 | 0 | 1 | 1.07 | -14.22 | 0 | 1 | 1.06 | 0.94
7 | 1 | 0 | 0 | 0 | 0 | 1 | 1.062 | -13.37 | 0 | 1 | 1.06 | 0.94
8 | 2 | 0 | 0 | 0 | 0 | 1 | 1.09 | -13.36 | 0 | 1 | 1.06 | 0.94
9 | 1 | 29.5 | 16.6 | 0 | 19 | 1 | 1.056 | -14.94 | 0 | 1 | 1.06 | 0.94
10 | 1 | 9 | 5.8 | 0 | 0 | 1 | 1.051 | -15.1 | 0 | 1 | 1.06 | 0.94
11 | 1 | 3.5 | 1.8 | 0 | 0 | 1 | 1.057 | -14.79 | 0 | 1 | 1.06 | 0.94
12 | 1 | 6.1 | 1.6 | 0 | 0 | 1 | 1.055 | -15.07 | 0 | 1 | 1.06 | 0.94
13 | 1 | 13.5 | 5.8 | 0 | 0 | 1 | 1.05 | -15.16 | 0 | 1 | 1.06 | 0.94
14 | 1 | 14.9 | 5 | 0 | 0 | 1 | 1.036 | -16.04 | 0 | 1 | 1.06 | 0.94

## generator
Bus | Generation | Generation | Maximum Generation | Minimum Generation | Voltage | Base | Status | Maximum Generation | Minimum Generation | Lower of PQ Curve | Upper of PQ Curve | Minimum at PC1 | Maximum at PC1 | Minimum at PC2 | Maximum at PC2 | Ramp Rate ACG | Ramp Rate 10 | Ramp Rate 30 | Ramp Rate Q | Area Factor
Integer | Active Power [MW] | Reactive Power [MVAr] | Reactive Power [MVAr] | Reactive Power [MVAr] | Magnitude [p.u.] | Power [MVA] | Integer | Active Power [MW] | Active Power [MW] | Active Power [MW] | Active Power [MW] | Reactive Power [MVAr] | Reactive Power [MVAr] | Reactive Power [MVAr] | Reactive Power [MVAr] | Active Power per Minut [MW/min] | Active Power [MW] | Active Power [MW] | Reactive Power per Minut [MVAr/min] | Integer
1 | 232.4 | -16.9 | 10 | 0 | 1.06 | 100 | 1 | 332.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 40 | 42.4 | 50 | -40 | 1.045 | 100 | 1 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 23.4 | 40 | 0 | 1.01 | 100 | 1 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 12.2 | 24 | -6 | 1.07 | 100 | 1 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 17.4 | 24 | -6 | 1.09 | 100 | 1 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## branch
Branch | From Bus | To Bus | Series Parameter | Series Parameter | Charging Parameter | Long Term Rate | Short Term Rate | Emergency Rate | Transformer | Transformer | Status | Minimum Voltage Difference | Maximum Voltage Difference
Integer | Integer | Integer | Resistance [p.u.] | Reactance [p.u.] | Susceptance [p.u.] | Power [MVA] | Power [MVA] | Power [MVA] | Turns Ratio | Shift Angle [deg] | Integer | Angle [deg] | Angle [deg]
1 | 1 | 2 | 0.01938 | 0.05917 | 0.0528 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
2 | 1 | 5 | 0.05403 | 0.22304 | 0.0492 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
3 | 2 | 3 | 0.04699 | 0.19797 | 0.0438 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
4 | 2 | 4 | 0.05811 | 0.17632 | 0.034 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
5 | 2 | 5 | 0.05695 | 0.17388 | 0.0346 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
6 | 3 | 4 | 0.06701 | 0.17103 | 0.0128 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
7 | 4 | 5 | 0.01335 | 0.04211 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
8 | 4 | 7 | 0 | 0.20912 | 0 | 0 | 0 | 0 | 0.978 | 0 | 1 | -360 | 360
9 | 4 | 9 | 0 | 0.55618 | 0 | 0 | 0 | 0 | 0.969 | 0 | 1 | -360 | 360
10 | 5 | 6 | 0 | 0.25202 | 0 | 0 | 0 | 0 | 0.932 | 0 | 1 | -360 | 360
11 | 6 | 11 | 0.09498 | 0.1989 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
12 | 6 | 12 | 0.12291 | 0.25581 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
13 | 6 | 13 | 0.06615 | 0.13027 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
14 | 7 | 8 | 0 | 0.17615 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
15 | 7 | 9 | 0 | 0.11001 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
16 | 9 | 10 | 0.03181 | 0.0845 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
17 | 9 | 14 | 0.12711 | 0.27038 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
18 | 10 | 11 | 0.08205 | 0.19207 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
19 | 12 | 13 | 0.22092 | 0.19988 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
20 | 13 | 14 | 0.17093 | 0.34802 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360

## basePower
Base Power
Power [MVA]
100

## info
Reference | https://labs.ece.uw.edu/pstca/pf14/pg_tca14bus.htm
Data | case14.h5
Grid | transmission
Bus | 14
PV bus | 5
PQ bus | 8
Shunt element | 1
Generator | 5 | 5 in-service
Branch | 20 | 20 in-service
Transformer | 3 | 3 in-service
PMU set setting | devices in-services | 9
Bus voltage magnitude | 9 in-service | 5 out-service
Bus voltage angle | 9 in-service | 5 out-service
Branch current magnitude | 26 in-service | 14 out-service
Branch current angle | 26 in-service | 14 out-service
Legacy set setting | redundancy | 3
Active power injection | 6 in-service | 8 out-service
Reactive power injection | 10 in-service | 4 out-service
Active power flow | 20 in-service | 20 out-service
Reactive power flow | 22 in-service | 18 out-service
Branch current magnitude | 17 in-service | 23 out-service
Bus voltage magnitude | 6 in-service | 8 out-service
PMU variance setting | all with same variances | 1.0e-5
Bus voltage magnitude | 1.0e-5 minimum | 1.0e-5 maximum
Bus voltage angle | 1.0e-5 minimum | 1.0e-5 maximum
Branch current magnitude | 1.0e-5 minimum | 1.0e-5 maximum
Branch current angle | 1.0e-5 minimum | 1.0e-5 maximum
Legacy variance setting | all with same variances | 0.0001
Active power injection | 0.0001 minimum | 0.0001 maximum
Reactive power injection | 0.0001 minimum | 0.0001 maximum
Active power flow | 0.0001 minimum | 0.0001 maximum
Reactive power flow | 0.0001 minimum | 0.0001 maximum
Branch current magnitude | 0.0001 minimum | 0.0001 maximum
Bus voltage magnitude | 0.0001 minimum | 0.0001 maximum