## pmuVoltage
Bus | Measurement | Noise | Status | Measurement | Noise | Status | Exact | Exact
Integer | Magnitude [p.u.] | Variance [p.u.] | Integer | Angle [rad] | Variance [p.u.] | Integer | Magnitude [p.u.] | Angle [rad]
1 | 1.0587 | 1e-05 | 0 | -0.0028792 | 25 | 0 | 1.06 | 0
2 | 1.0441 | 1e-05 | 1 | -0.087409 | 1e-05 | 0 | 1.045 | -0.086963
3 | 1.004 | 1e-05 | 1 | -0.22181 | 1e-05 | 0 | 1.01 | -0.22209
4 | 1.0149 | 1e-05 | 1 | -0.17941 | 1e-05 | 0 | 1.0177 | -0.17999
5 | 1.0221 | 1e-05 | 0 | -0.15138 | 1e-05 | 0 | 1.0195 | -0.15313
6 | 1.0692 | 1e-05 | 1 | -0.25315 | 1e-05 | 1 | 1.07 | -0.2482
7 | 1.0608 | 1e-05 | 0 | -0.23107 | 1e-05 | 1 | 1.0615 | -0.23317
8 | 1.0898 | 1e-05 | 1 | -0.22916 | 1e-05 | 0 | 1.09 | -0.23317
9 | 1.0548 | 1e-05 | 1 | -0.26157 | 1e-05 | 0 | 1.0559 | -0.26073
10 | 1.0474 | 1e-05 | 1 | -0.26599 | 1e-05 | 0 | 1.051 | -0.2635
11 | 1.0569 | 1e-05 | 1 | -0.25843 | 1e-05 | 0 | 1.0569 | -0.25815
12 | 1.0585 | 1e-05 | 1 | -0.2638 | 1e-05 | 0 | 1.0552 | -0.26312
13 | 1.0511 | 1e-05 | 1 | -0.26507 | 1e-05 | 0 | 1.0504 | -0.26453
14 | 1.0331 | 1e-05 | 1 | -0.27872 | 1e-05 | 0 | 1.0355 | -0.27984

## pmuCurrent
Branch | From Bus | To Bus | Measurement | Noise | Status | Measurement | Noise | Status | Exact | Exact
Integer | Integer | Integer | Magnitude [p.u.] | Variance [p.u.] | Integer | Angle [rad] | Variance [p.u.] | Integer | Magnitude [p.u.] | Angle [rad]
1 | 1 | 2 | 13.1199 | 1e-05 | 1 | 1.4936 | 1e-05 | 1 | 13.1212 | 1.4925
2 | 1 | 5 | 11.4065 | 1e-05 | 1 | 0.71598 | 1e-05 | 1 | 11.4054 | 0.71329
3 | 2 | 3 | 9.7877 | 1e-05 | 1 | 0.7003 | 1e-05 | 1 | 9.788 | 0.70167
4 | 2 | 4 | 5.088 | 1e-05 | 1 | 0.53892 | 1e-05 | 1 | 5.0874 | 0.53735
5 | 2 | 5 | 2.7574 | 1e-05 | 1 | 0.39935 | 1e-05 | 1 | 2.7593 | 0.39744
6 | 3 | 4 | 0.95078 | 1e-05 | 1 | 0.23639 | 1e-05 | 1 | 0.95315 | 0.23477
7 | 4 | 5 | 1.6202 | 1e-05 | 1 | 0.61872 | 1e-05 | 1 | 1.6226 | 0.62075
8 | 4 | 7 | 1.7044 | 1e-05 | 1 | 0.29524 | 1e-05 | 1 | 1.7032 | 0.29181
9 | 4 | 9 | 1.3056 | 1e-05 | 1 | 0.16134 | 1e-05 | 1 | 1.3047 | 0.15806
10 | 5 | 6 | 4.4206 | 1e-05 | 1 | 0.45313 | 1e-05 | 1 | 4.4212 | 0.4494
11 | 6 | 11 | 0.11578 | 1e-05 | 1 | 0.077304 | 1e-05 | 1 | 0.11596 | 0.076354
12 | 6 | 12 | 0.14885 | 1e-05 | 1 | 0.081643 | 1e-05 | 1 | 0.14946 | 0.076436
13 | 6 | 13 | 0.41501 | 1e-05 | 1 | 0.17729 | 1e-05 | 1 | 0.41766 | 0.17906
14 | 7 | 8 | 0.45535 | 1e-05 | 1 | 0.1642 | 1e-05 | 1 | 0.46048 | 0.16168
15 | 7 | 9 | 0.80233 | 1e-05 | 1 | 0.26841 | 1e-05 | 1 | 0.80207 | 0.27002
16 | 9 | 10 | 0.031995 | 1e-05 | 1 | 0.058647 | 1e-05 | 1 | 0.034201 | 0.063619
17 | 9 | 14 | 0.24221 | 1e-05 | 1 | 0.098354 | 1e-05 | 1 | 0.24708 | 0.095593
18 | 10 | 11 | 0.03059 | 1e-05 | 1 | 0.041736 | 1e-05 | 1 | 0.029451 | 0.039158
19 | 12 | 13 | 0.0088455 | 1e-05 | 1 | 0.017523 | 1e-05 | 1 | 0.0056984 | 0.016885
20 | 13 | 14 | 0.11305 | 1e-05 | 1 | 0.057548 | 1e-05 | 1 | 0.1101 | 0.056247
1 | 2 | 1 | 0.12775 | 1e-05 | 1 | 1.4846 | 1e-05 | 1 | 0.12933 | 1.484
2 | 5 | 1 | -0.04806 | 1e-05 | 1 | 0.71473 | 1e-05 | 1 | -0.051008 | 0.71389
3 | 3 | 2 | -0.13676 | 1e-05 | 1 | 0.70632 | 1e-05 | 1 | -0.13554 | 0.7023
4 | 4 | 2 | -0.056349 | 1e-05 | 1 | 0.53929 | 1e-05 | 1 | -0.05935 | 0.53592
5 | 5 | 2 | -0.11928 | 1e-05 | 1 | 0.40453 | 1e-05 | 1 | -0.11516 | 0.39888
6 | 4 | 3 | 3.1087 | 1e-05 | 1 | 0.23282 | 1e-05 | 1 | 3.1093 | 0.23729
7 | 5 | 4 | -3.0684 | 1e-05 | 1 | 0.6211 | 1e-05 | 1 | -3.0684 | 0.62075
8 | 7 | 4 | 0.15269 | 1e-05 | 1 | 0.28225 | 1e-05 | 1 | 0.15208 | 0.28539
9 | 9 | 4 | -0.15278 | 1e-05 | 1 | 0.15542 | 1e-05 | 1 | -0.15341 | 0.15316
10 | 6 | 5 | -0.42816 | 1e-05 | 1 | 0.42333 | 1e-05 | 1 | -0.42879 | 0.41884
11 | 11 | 6 | -0.70013 | 1e-05 | 1 | 0.072295 | 1e-05 | 1 | -0.69913 | 0.076354
12 | 12 | 6 | -0.55941 | 1e-05 | 1 | 0.069239 | 1e-05 | 1 | -0.55929 | 0.076436
13 | 13 | 6 | -0.63664 | 1e-05 | 1 | 0.17755 | 1e-05 | 1 | -0.6344 | 0.17906
14 | 8 | 7 | 1.3356 | 1e-05 | 1 | 0.1586 | 1e-05 | 1 | 1.3376 | 0.16168
15 | 9 | 7 | -0.4282 | 1e-05 | 1 | 0.27305 | 1e-05 | 1 | -0.43617 | 0.27002
16 | 10 | 9 | -0.94139 | 1e-05 | 1 | 0.063567 | 1e-05 | 1 | -0.93978 | 0.063619
17 | 14 | 9 | -0.626 | 1e-05 | 1 | 0.098183 | 1e-05 | 1 | -0.62646 | 0.095593
18 | 11 | 10 | 2.4739 | 1e-05 | 1 | 0.039629 | 1e-05 | 1 | 2.4748 | 0.039158
19 | 13 | 12 | -0.6979 | 1e-05 | 1 | 0.016848 | 1e-05 | 1 | -0.70007 | 0.016885
20 | 14 | 13 | -0.56447 | 1e-05 | 1 | 0.057079 | 1e-05 | 1 | -0.56474 | 0.056247

## legacyFlow
Branch | From Bus | To Bus | Measurement | Noise | Status | Measurement | Noise | Status | Exact | Exact
Integer | Integer | Integer | Active Power [p.u.] | Variance [p.u.] | Integer | Reactive Power [p.u.] | Variance [p.u.] | Integer | Active Power [p.u.] | Reactive Power [p.u.]
1 | 1 | 2 | 1.551 | 0.0001 | 0 | -0.21189 | 0.0001 | 1 | 1.5688 | -0.20404
2 | 1 | 5 | 0.74499 | 0.0001 | 0 | 0.020903 | 0.0001 | 1 | 0.7551 | 0.03855
3 | 2 | 3 | 0.73478 | 0.0001 | 1 | 0.042619 | 0.0001 | 1 | 0.73238 | 0.035602
4 | 2 | 4 | 0.55126 | 0.0001 | 0 | -0.0030532 | 0.0001 | 1 | 0.56131 | -0.015504
5 | 2 | 5 | 0.41689 | 0.0001 | 0 | 0.0068674 | 0.0001 | 1 | 0.41516 | 0.01171
6 | 3 | 4 | -0.23143 | 0.0001 | 0 | 0.037575 | 0.0001 | 1 | -0.23286 | 0.044731
7 | 4 | 5 | -0.60079 | 0.0001 | 0 | 0.16002 | 0.0001 | 1 | -0.61158 | 0.15824
8 | 4 | 7 | 0.2937 | 0.0001 | 0 | -0.10921 | 0.0001 | 1 | 0.28074 | -0.096811
9 | 4 | 9 | 0.16073 | 0.0001 | 0 | -0.0093338 | 0.0001 | 1 | 0.1608 | -0.0042761
10 | 5 | 6 | 0.44583 | 0.0001 | 0 | 0.12219 | 0.0001 | 1 | 0.44087 | 0.12471
11 | 6 | 11 | 0.0663 | 0.0001 | 1 | 0.029695 | 0.0001 | 1 | 0.073533 | 0.035605
12 | 6 | 12 | 0.08126 | 0.0001 | 1 | 0.035515 | 0.0001 | 1 | 0.077861 | 0.025034
13 | 6 | 13 | 0.15856 | 0.0001 | 1 | 0.086538 | 0.0001 | 1 | 0.17748 | 0.072166
14 | 7 | 8 | 0.0034395 | 0.0001 | 1 | -0.17116 | 0.0001 | 1 | -5.7084e-13 | -0.17163
15 | 7 | 9 | 0.29115 | 0.0001 | 1 | 0.061151 | 0.0001 | 1 | 0.28074 | 0.057787
16 | 9 | 10 | 0.054107 | 0.0001 | 0 | 0.04623 | 0.0001 | 1 | 0.052276 | 0.042191
17 | 9 | 14 | 0.07411 | 0.0001 | 0 | 0.026675 | 0.0001 | 1 | 0.094264 | 0.0361
18 | 10 | 11 | -0.047452 | 0.0001 | 0 | -0.025919 | 0.0001 | 1 | -0.037853 | -0.016151
19 | 12 | 13 | 0.025898 | 0.0001 | 1 | 0.013042 | 0.0001 | 1 | 0.016143 | 0.0075396
20 | 13 | 14 | 0.070788 | 0.0001 | 0 | 0.019248 | 0.0001 | 1 | 0.056439 | 0.017472
1 | 2 | 1 | -1.5459 | 0.0001 | 0 | 0.30067 | 0.0001 | 1 | -1.5259 | 0.27676
2 | 5 | 1 | -0.73362 | 0.0001 | 0 | 0.015625 | 0.0001 | 1 | -0.72748 | 0.022294
3 | 3 | 2 | -0.71597 | 0.0001 | 0 | 0.020991 | 0.0001 | 1 | -0.70914 | 0.016022
4 | 4 | 2 | -0.54654 | 0.0001 | 0 | 0.050121 | 0.0001 | 1 | -0.54455 | 0.030207
5 | 5 | 2 | -0.41957 | 0.0001 | 0 | -0.017924 | 0.0001 | 1 | -0.40612 | -0.02099
6 | 4 | 3 | 0.21952 | 0.0001 | 0 | -0.044464 | 0.0001 | 1 | 0.23659 | -0.048357
7 | 5 | 4 | 0.61323 | 0.0001 | 0 | -0.14766 | 0.0001 | 1 | 0.61673 | -0.14201
8 | 7 | 4 | -0.26635 | 0.0001 | 1 | 0.10613 | 0.0001 | 1 | -0.28074 | 0.11384
9 | 9 | 4 | -0.15772 | 0.0001 | 1 | 0.0017714 | 0.0001 | 1 | -0.1608 | 0.017323
10 | 6 | 5 | -0.44361 | 0.0001 | 1 | -0.068102 | 0.0001 | 1 | -0.44087 | -0.080495
11 | 11 | 6 | -0.065745 | 0.0001 | 0 | -0.031919 | 0.0001 | 1 | -0.072979 | -0.034445
12 | 12 | 6 | -0.082398 | 0.0001 | 0 | -0.030973 | 0.0001 | 1 | -0.077143 | -0.02354
13 | 13 | 6 | -0.17754 | 0.0001 | 0 | -0.054503 | 0.0001 | 1 | -0.17536 | -0.067989
14 | 8 | 7 | -0.0024631 | 0.0001 | 1 | 0.17464 | 0.0001 | 1 | 5.7084e-13 | 0.17623
15 | 9 | 7 | -0.28545 | 0.0001 | 1 | -0.037311 | 0.0001 | 1 | -0.28074 | -0.049766
16 | 10 | 9 | -0.036135 | 0.0001 | 0 | -0.032697 | 0.0001 | 1 | -0.052147 | -0.041849
17 | 14 | 9 | -0.093165 | 0.0001 | 0 | -0.039275 | 0.0001 | 1 | -0.093102 | -0.033629
18 | 11 | 10 | 0.042007 | 0.0001 | 0 | 0.023003 | 0.0001 | 1 | 0.037979 | 0.016445
19 | 13 | 12 | -0.0099634 | 0.0001 | 0 | -0.015974 | 0.0001 | 1 | -0.01608 | -0.0074826
20 | 14 | 13 | -0.055307 | 0.0001 | 0 | -0.015699 | 0.0001 | 1 | -0.055898 | -0.016371

## legacyInjection
Bus | Measurement | Noise | Status | Measurement | Noise | Status | Exact | Exact
Integer | Active Power [p.u.] | Variance [p.u.] | Integer | Reactive Power [p.u.] | Variance [p.u.] | Integer | Active Power [p.u.] | Reactive Power [p.u.]
1 | 2.3335 | 0.0001 | 1 | -0.17019 | 0.0001 | 1 | 2.3239 | -0.16549
2 | 0.16141 | 0.0001 | 1 | 0.30015 | 0.0001 | 1 | 0.183 | 0.30857
3 | -0.93393 | 0.0001 | 0 | 0.049302 | 0.0001 | 1 | -0.942 | 0.060753
4 | -0.4755 | 0.0001 | 0 | 0.02577 | 0.0001 | 1 | -0.478 | 0.039
5 | -0.065835 | 0.0001 | 1 | -0.0052005 | 0.0001 | 1 | -0.076 | -0.016
6 | -0.10874 | 0.0001 | 0 | 0.059038 | 0.0001 | 1 | -0.112 | 0.052309
7 | 0.0010593 | 0.0001 | 0 | 0.0056491 | 0.0001 | 1 | 2.3668e-12 | 1.6686e-12
8 | 0.0053539 | 0.0001 | 1 | 0.18405 | 0.0001 | 1 | 5.7084e-13 | 0.17623
9 | -0.28549 | 0.0001 | 0 | -0.16125 | 0.0001 | 1 | -0.295 | -0.166
10 | -0.06666 | 0.0001 | 0 | -0.075621 | 0.0001 | 1 | -0.09 | -0.058
11 | -0.04891 | 0.0001 | 0 | -0.0073429 | 0.0001 | 1 | -0.035 | -0.018
12 | -0.076473 | 0.0001 | 1 | -0.026369 | 0.0001 | 1 | -0.061 | -0.016
13 | -0.11327 | 0.0001 | 0 | -0.060185 | 0.0001 | 1 | -0.135 | -0.058
14 | -0.15539 | 0.0001 | 0 | -0.047162 | 0.0001 | 1 | -0.149 | -0.05

## legacyVoltage
Bus | Measurement | Noise | Status | Exact
Integer | Magnitude [p.u.] | Variance [p.u.] | Integer | Magnitude [p.u.]
1 | 1.0555 | 0.0001 | 0 | 1.06
2 | 1.0666 | 0.0001 | 0 | 1.045
3 | 1.0112 | 0.0001 | 0 | 1.01
4 | 1.0078 | 0.0001 | 0 | 1.0177
5 | 1.0163 | 0.0001 | 0 | 1.0195
6 | 1.0688 | 0.0001 | 0 | 1.07
7 | 1.059 | 0.0001 | 0 | 1.0615
8 | 1.0703 | 0.0001 | 0 | 1.09
9 | 1.0472 | 0.0001 | 0 | 1.0559
10 | 1.0742 | 0.0001 | 0 | 1.051
11 | 1.0566 | 0.0001 | 0 | 1.0569
12 | 1.0619 | 0.0001 | 0 | 1.0552
13 | 1.0368 | 0.0001 | 0 | 1.0504
14 | 1.0326 | 0.0001 | 0 | 1.0355

## bus
Bus | Type | Demand | Demand | Shunt Conductance | Shunt Susceptance | Area | Voltage | Voltage | Base Voltage | Loss Zone | Maximum Voltage | Minimum Voltage
Integer | PQ(1), PV(2), Slack(3) | Active Power [MW] | Reactive Power [MVAr] | Active Power [MW] | Reactive Power [MVAr] | Integer | Magnitude [p.u.] | Angle [deg] | Magnitude [kV] | Integer | Magnitude [p.u.] | Magnitude [p.u.]
1 | 3 | 0 | 0 | 0 | 0 | 1 | 1.06 | 0 | 0 | 1 | 1.06 | 0.94
2 | 2 | 21.7 | 12.7 | 0 | 0 | 1 | 1.045 | -4.98 | 0 | 1 | 1.06 | 0.94
3 | 2 | 94.2 | 19 | 0 | 0 | 1 | 1.01 | -12.72 | 0 | 1 | 1.06 | 0.94
4 | 1 | 47.8 | -3.9 | 0 | 0 | 1 | 1.019 | -10.33 | 0 | 1 | 1.06 | 0.94
5 | 1 | 7.6 | 1.6 | 0 | 0 | 1 | 1.02 | -8.78 | 0 | 1 | 1.06 | 0.94
6 | 2 | 11.2 | 7.5 | 0 | 0 | 1 | 1.07 | -14.22 | 0 | 1 | 1.06 | 0.94
7 | 1 | 0 | 0 | 0 | 0 | 1 | 1.062 | -13.37 | 0 | 1 | 1.06 | 0.94
8 | 2 | 0 | 0 | 0 | 0 | 1 | 1.09 | -13.36 | 0 | 1 | 1.06 | 0.94
9 | 1 | 29.5 | 16.6 | 0 | 19 | 1 | 1.056 | -14.94 | 0 | 1 | 1.06 | 0.94
10 | 1 | 9 | 5.8 | 0 | 0 | 1 | 1.051 | -15.1 | 0 | 1 | 1.06 | 0.94
11 | 1 | 3.5 | 1.8 | 0 | 0 | 1 | 1.057 | -14.79 | 0 | 1 | 1.06 | 0.94
12 | 1 | 6.1 | 1.6 | 0 | 0 | 1 | 1.055 | -15.07 | 0 | 1 | 1.06 | 0.94
13 | 1 | 13.5 | 5.8 | 0 | 0 | 1 | 1.05 | -15.16 | 0 | 1 | 1.06 | 0.94
14 | 1 | 14.9 | 5 | 0 | 0 | 1 | 1.036 | -16.04 | 0 | 1 | 1.06 | 0.94

## generator
Bus | Generation | Generation | Maximum Generation | Minimum Generation | Voltage | Base | Status | Maximum Generation | Minimum Generation | Lower of PQ Curve | Upper of PQ Curve | Minimum at PC1 | Maximum at PC1 | Minimum at PC2 | Maximum at PC2 | Ramp Rate ACG | Ramp Rate 10 | Ramp Rate 30 | Ramp Rate Q | Area Factor
Integer | Active Power [MW] | Reactive Power [MVAr] | Reactive Power [MVAr] | Reactive Power [MVAr] | Magnitude [p.u.] | Power [MVA] | Integer | Active Power [MW] | Active Power [MW] | Active Power [MW] | Active Power [MW] | Reactive Power [MVAr] | Reactive Power [MVAr] | Reactive Power [MVAr] | Reactive Power [MVAr] | Active Power per Minut [MW/min] | Active Power [MW] | Active Power [MW] | Reactive Power per Minut [MVAr/min] | Integer
1 | 232.4 | -16.9 | 10 | 0 | 1.06 | 100 | 1 | 332.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 40 | 42.4 | 50 | -40 | 1.045 | 100 | 1 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 23.4 | 40 | 0 | 1.01 | 100 | 1 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 12.2 | 24 | -6 | 1.07 | 100 | 1 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 17.4 | 24 | -6 | 1.09 | 100 | 1 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## branch
Branch | From Bus | To Bus | Series Parameter | Series Parameter | Charging Parameter | Long Term Rate | Short Term Rate | Emergency Rate | Transformer | Transformer | Status | Minimum Voltage Difference | Maximum Voltage Difference
Integer | Integer | Integer | Resistance [p.u.] | Reactance [p.u.] | Susceptance [p.u.] | Power [MVA] | Power [MVA] | Power [MVA] | Turns Ratio | Shift Angle [deg] | Integer | Angle [deg] | Angle [deg]
1 | 1 | 2 | 1 | 1 | 0.0528 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
2 | 1 | 5 | 1 | 1 | 0.0492 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
3 | 2 | 3 | 1 | 1 | 0.0438 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
4 | 2 | 4 | 1 | 1 | 0.034 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
5 | 2 | 5 | 1 | 1 | 0.0346 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
6 | 3 | 4 | 1 | 1 | 0.0128 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
7 | 4 | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
8 | 4 | 7 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
9 | 4 | 9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
10 | 5 | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
11 | 6 | 11 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
12 | 6 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
13 | 6 | 13 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
14 | 7 | 8 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
15 | 7 | 9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
16 | 9 | 10 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
17 | 9 | 14 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
18 | 10 | 11 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
19 | 12 | 13 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360
20 | 13 | 14 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -360 | 360

## basePower
Base Power
Power [MVA]
100

## info
Reference | N. M. Manousakis and G. N. Korres, Observability analysis for power systems including conventional and phasor measurements, MedPower 2010
Data | manousakis2010.xlsx
Grid | transmission